## Sheet1
Rotameter % of Flow | Ambient Pressure [Pa] | Sonic Gauge Pressue [Pa] | Temperature [°C] | Closed Position [in] | Current Position [in] | Oriface Plate, Absolute Pressure [Pa] | Orifice Plate DP0 [Pa] | Orifice Plate DP1 [Pa] | Orifice Plate DP2 [Pa] | Orifice Plate DP3 [Pa] | Orifice Plate DP4 [Pa] | Orifice Plate DP5 [Pa] | Turbine, Absolute Pressure [Pa] | Count [Hz] | Laminar, Absolute Pressure [Pa] | Pressure Drop [in] | Venturi, Absolute Pressure [Pa] | Venturi DP0 [Pa] | Venturi DP1 [Pa] | Venturi DP2 [Pa] | Venturi DP3 [Pa] | Venturi DP4 [Pa] | Venturi DP5 [Pa]
0 | 100000 | 100000 | 20.288 | 3.2 | 3.2 | 99250 | -7.208 | -2.453 | -8.869 | -7.086 | 0 | -5.346 | 100100 | 0 | 100100 | 0.245 | 100000 | -63.971 | -86.174 | -50.354 | -103.996 | 0 | 22.492
10 | 100000 | 100000 | 20.266 | 3.2 | 3.53 | 99250 | 8.317 | 11.381 | 3.419 | 4.704 | 0 | 5.151 | 100200 | 0 | 100200 | 0.701 | 100000 | -56.945 | -79.969 | -43.846 | -98.22 | 0 | 26.592
20 | 100000 | 100000 | 20.234 | 3.2 | 3.91 | 99260 | 43.731 | 45.323 | 34.349 | 34.222 | 0 | 30.35 | 100500 | 157 | 100400 | 1.212 | 100000 | -43.336 | -66.204 | -30.733 | -88.039 | 0 | 33.145
30 | 100000 | 100000 | 20.181 | 3.2 | 4.3 | 99250 | 102.395 | 103.365 | 87.775 | 81.864 | 0 | 72.904 | 100700 | 234.4 | 100500 | 1.719 | 100000 | -22.224 | -47.042 | -13.124 | -79.131 | 0 | 41.485
40 | 100000 | 100000 | 20.138 | 3.2 | 4.72 | 99260 | 179.118 | 177.479 | 156.945 | 142.432 | 0 | 126.984 | 101000 | 308.4 | 100700 | 2.229 | 100100 | 6.295 | -18.551 | -3.133 | -68.077 | 0 | 49.725
50 | 100000 | 100000 | 20.113 | 3.2 | 5.16 | 99260 | 271.218 | 263.601 | 235.265 | 220.269 | 0 | 194.84 | 101300 | 377.2 | 100900 | 2.725 | 100100 | 41.254 | 14.707 | 14.73 | -53.938 | 0 | 60.55
60 | 100000 | 100000 | 20.069 | 3.2 | 5.63 | 99260 | 380.086 | 371.197 | 326.005 | 312.451 | 0 | 273.496 | 101700 | 445.4 | 101000 | 3.221 | 100100 | 81.502 | 55.241 | 34.097 | -40.943 | 0 | 69.223
70 | 100000 | 100000 | 20.008 | 3.2 | 6.13 | 99260 | 511.324 | 493.479 | 438.485 | 413.03 | 0 | 366.528 | 102000 | 513 | 101200 | 3.719 | 100100 | 128.371 | 100.113 | 56.744 | -26.216 | 0 | 82.966
80 | 100000 | 100000 | 19.971 | 3.2 | 6.68 | 99270 | 647.929 | 620.812 | 557.58 | 529.394 | 0 | 465.302 | 102400 | 578.1 | 101400 | 4.203 | 100100 | 180.386 | 151.608 | 74.181 | -10.151 | 0 | 92.944
90 | 100000 | 100000 | 19.954 | 3.2 | 7.31 | 99260 | 803.522 | 780.198 | 700.179 | 659.95 | 0 | 580.274 | 102800 | 644.1 | 101600 | 4.687 | 100100 | 239.09 | 208.76 | 96.275 | 6.713 | 0 | 105.065
96 | 100000 | 100000 | 19.865 | 3.2 | 7.71 | 99270 | 894.36 | 870.739 | 792.756 | 722.492 | 0 | 645.073 | 103000 | 680.1 | 101700 | 4.956 | 100100 | 274.116 | 240.497 | 108.201 | 15.654 | 0 | 110.805